REQUEST FOR BIDS (RFB)
SMALL CONSTRUCTION PROJECT

Project Name: Construction of Road Department Breakroom

Issuing Entity: Echols County Board of Commissioners

Issue Date: 9 February 2026

# SECTION 1 – BID INFORMATION

Bid Submission Deadline: 4:00PM on February 25, 2026

Public Bid Opening (Time & Location): 4:00PM on 25 February 2026 at the Echols County Board of Commissioners Office, 110 General Deloach Road, Statenville, Georgia.

Submission Address: Echols County Board of Commissioners, 110 General Deloach Road, Statenville, GA 31648

County Contact Person: Alan Levesque

Contact Email / Phone: ecboc@yahoo.com; 229-559-6538

# SECTION 2 – INVITATION TO BID / PROJECT OVERVIEW

Echols County is soliciting sealed bids from qualified contractors to provide labor, materials, equipment, supervision, and incidentals necessary to construct a new 12-foot by 16-foot break room within the Road Department Building. The project includes framing, flooring, insulation, drywall, cabinetry, electrical work, finishes, and all labor and materials necessary to deliver a complete, code-compliant space.

Award shall be made to the lowest responsible and responsive bidder meeting all requirements. The County reserves the right to reject any or all bids and to cancel this solicitation at any time prior to contract award without liability. The term “Project” as used in this RFB refers to the construction described in Section 4.

# SECTION 3 – INSTRUCTIONS TO BIDDERS

Bids shall be submitted in a sealed envelope clearly marked with the project name.

One (1) original signed bid is required unless otherwise stated.

Questions must be submitted in writing to the designated County contact. Answers may be issued by addendum.

Bidders may withdraw bids prior to the submission deadline by written request.

No oral interpretations or instructions shall be binding. Only written addenda issued by the County shall modify this Request for Bids.

Bidders are responsible for the accuracy of their bids. Negligence does not permit withdrawal after opening.

Contact with County Commissioners or unauthorized staff regarding this solicitation may result in disqualification.

Late bids will not be accepted or considered.

# SECTION 4 – SCOPE OF WORK

The Contractor shall provide all labor, materials, tools, equipment, permits, and supervision required to complete the Project in accordance with applicable federal, state, and local laws, codes, and regulations.

General Requirements

- Vendor shall provide all labor, materials, tools, equipment, and supervision necessary to complete the work.

- All work must comply with applicable local, state, and building codes, including electrical and safety standards.

- The project includes installation of a functional sink with potable water supply and sanitary drain connection. The Contractor shall provide all labor, materials, piping, fittings, valves, traps, connections, permits, and inspections necessary to deliver a fully operational and code-compliant plumbing installation.

- Vendor shall verify site conditions prior to bidding.

- Work shall be coordinated with County staff to minimize disruption to Road Department operations.

- The break room will remain unconditioned; insulation is provided for thermal separation only. Final product shall be clean, functional, and ready for use.

- Work shall be substantially complete within 30 calendar days after issuance of a written Notice to Proceed, unless extended in writing by the County.

Construction Specifications

A. Room Dimensions & Structure

- Construct a 12’ x 16’ break room

- Wall height: 8 feet

- Framing:

  - Walls: 2” x 4” x 8’ studs

  - Ceiling joists: 2” x 6” x 12’

- Exterior walls sheathed with ½” OSB

- Ceiling top sheathed with ½” OSB

B. Flooring

- Floor constructed over existing slab

- Floor framing using 2” x 4” x 12’ lumber

- Subfloor: ¾” plywood, securely fastened and level

C. Doors and Windows

- Install one (1) 36-inch left-hand inswing door

- Install three (3) windows, each 24” x 36”, properly flashed and sealed.  All three windows are interior facing into building.

Interior Finishes

A. Insulation

- Install insulation in all walls and ceiling, meeting minimum code requirements

B. Drywall

- Interior walls finished with ½” sheetrock, taped and finished ready for paint. Install ½-inch drywall ceiling, taped, finished smooth, and painted to match interior walls.

C. Painting

- Paint all interior walls light gray

- Include all surface preparation and cleanup

Cabinetry and Countertops

- Install three (3) base cabinets, consisting of:

  - One 36” sink base cabinet with sink

  - Two 24” base cabinets, each with a top drawer

- Install 84-inch countertop

- All cabinets and countertop to be properly secured and level

Electrical Work

- Provide and install:

  - Nine (9) electrical outlets, properly spaced and code-compliant

  - Six (6) ceiling lights total, consisting of:

    - Two (2) can lights over the sink/counter area

    - Four (4) can lights in the main room area

- All electrical work shall be performed by a licensed electrician, where required. Contractor shall verify existing electrical service and size breakers, panel capacity, wiring, and connections necessary to support the new work, in compliance with the National Electrical Code, with permits and licensed electrician where required.

Plumbing Work

- Provide one standard 22” x 25” stainless steel break-room sink with single-handle faucet.  Cold water service only is acceptable for this facility.

- Connection to existing domestic water supply

- Connection to existing sanitary drain or approved alternative

- Shutoff valves, P-trap, and required venting

- Wall/floor penetrations and proper sealing

- Pressure testing and leak-free operation

All plumbing shall comply with applicable state and local plumbing codes and be performed by a licensed plumber where required. Any required permits and inspections shall be included in the bid.

Cleanup and Completion

- Vendor shall remove all construction debris from the site. Site can accommodate a vendor supplied dumpster.

- Area shall be broom-clean upon completion

- Final walkthrough and acceptance required by County staff

# SECTION 5 – CONTRACTOR REQUIREMENTS

The prime contractor shall hold a valid Georgia contractor license appropriate for commercial construction or shall employ properly licensed subcontractors for all regulated trades, including plumbing and electrical.

Commercial General Liability insurance of at least $1,000,000 per occurrence.

Workers’ Compensation coverage as required by Georgia law.

Compliance with the Georgia Security and Immigration Compliance Act (E-Verify).

Certificates of insurance shall be provided prior to contract execution.

Mandatory Site Visit: 17 February 2026 at 10:00AM.  Location of visit is 120 Baptist Church Street, Statenville GA 31648

# SECTION 6 – AWARD AND RESPONSIVENESS

The County will award the contract to the lowest responsible and responsive bidder whose bid complies with all requirements. The County reserves the right to waive minor informalities, reject any or all bids, or cancel the solicitation prior to award. Determination of bidder responsibility shall be made by the County and shall be final. Submission of a bid constitutes agreement by the bidder to complete the Project within the Contract Time stated in this RFB. In the event of identical low bids, the County may determine the successful bidder by coin toss, drawing, or other lawful method.

# SECTION 7 – REQUIRED BID FORMAT

Cover letter with company information and authorized signature.

Detailed price proposal or lump-sum bid amount.

Description of construction approach and materials.

References for similar construction projects.

Acknowledgment of all issued addenda, if any.

# SECTION 8 – PAYMENT TERMS

Payment shall be made upon satisfactory completion and acceptance of the work and receipt of a proper invoice. The County may allow progress payments for substantially completed work when appropriate. The County shall not be liable for any costs incurred by bidders in the preparation or submission of a bid.